Event POD Log\_Mins Log\_MB Delay DutyCyc Summary CPfile CP\_mins CP\_MB

error 2154 0 not known not known no OFF NO Minute counter jumped by -248425 at 13/10/2021 21:48 to 31564 FilePosn 255867164

file 2154 0 not known not known no OFF NO C:\Users\Benjamin\Desktop\CPOD\RioSeco 2021 04 02 POD2154 file01.CP1 294266 340,4 MB

Results

File N of encounters N raw DPM N DPM accepted % raw DPM accepted Encounter classifier: GENENC

RioSeco 2021 04 02 POD2154 file01.CP 2/4/2021 11:19 23/10/2021 19:44 204d 8h 26m 294266 35313830 112816 251515 172761 882 8051 0 16340 5192 0 1,10 0,00 0,15 0,03 0,34 91,00

2 RioSeco 2021 04 02 POD2154 file01.CP3 20/4/2021 23:47 20/4/2021 23:48 97 1 8 92614 46837 55,86 62 28 0,6 76,7 156,7 163,2 86,6

3 RioSeco 2021 04 02 POD2154 file01.CP3 14/5/2021 11:08 14/5/2021 11:08 44 3 12 100442 51144 24,76 68 31 1,5 78,7 159,2 165,6 86,9

4 RioSeco 2021 04 02 POD2154 file01.CP3 24/6/2021 21:17 24/6/2021 21:18 32 2 7 128590 63245 58,21 89 40 0,8 85,1 160,3 166,1 81,0

5 RioSeco 2021 04 02 POD2154 file01.CP3 13/7/2021 22:20 13/7/2021 22:20 12 2 8 106849 52073 40,38 73 32 1,0 80,4 154,5 158,2 77,8

6 RioSeco 2021 04 02 POD2154 file01.CP3 28/7/2021 03:57 28/7/2021 03:58 22 2 7 148225 60340 49,99 104 38 1,3 89,0 170,0 178,5 89,5

7 RioSeco 2021 04 02 POD2154 file01.CP3 11/8/2021 02:07 11/8/2021 02:08 74 1 9 98294 44545 64,64 66 26 0,6 78,1 154,1 157,8 79,7

8 RioSeco 2021 04 02 POD2154 file01.CP3 15/8/2021 20:41 15/8/2021 20:42 83 3 6 78619 28139 31,58 51 14 1,2 72,4 166,0 170,8 98,4

9 RioSeco 2021 04 02 POD2154 file01.CP3 21/8/2021 19:41 21/8/2021 19:42 28 2 8 113939 58274 37,56 78 36 1,1 81,9 161,5 168,8 86,9

10 RioSeco 2021 04 02 POD2154 file01.CP3 11/10/2021 20:50 11/10/2021 20:51 66 3 7 114231 56395 19,47 78 35 2,2 81,9 168,8 176,8 94,8

11 RioSeco 2021 04 02 POD2154 file01.CP3 15/10/2021 17:08 15/10/2021 17:09 97 1 10 129064 44451 49,48 89 26 1,3 85,1 166,0 178,1 93,0

12 RioSeco 2021 04 02 POD2154 file01.CP3 16/10/2021 17:00 16/10/2021 17:01 84 2 9 142961 59335 20,76 100 37 3,0 88,0 173,0 180,0 92,0

13 RioSeco 2021 04 02 POD2154 file01.CP3 21/10/2021 01:43 21/10/2021 01:43 55 2 7 104993 51960 33,97 71 31 1,2 79,7 159,0 168,9 89,2

14 RioSeco 2021 04 02 POD2154 file01.CP3 23/10/2021 19:38 23/10/2021 19:38 127 2 8 104006 40913 30,16 71 23 1,6 79,7 164,3 172,6 92,9

File N of encounters N raw DPM N DPM accepted % raw DPM accepted Encounter classifier: GENENC

RioSeco 2021 04 02 POD2154 file01.CP3 2485 9387 10391 111